INSTALLATION AND SAFETY INSTRUCTIONS

	FOR YOUR SAFETY


WARNING: BE SURE THE ELECTRICITY TO THE WIRES YOU ARE WORKING ON IS SHUT OFF; EITHER THE FUSE IS REMOVED OR THE CIRCUIT BREAKER IS SHUT OFF.

	GENERAL


You don’t need special tools to install this fixture. Be sure to follow the steps in the order given. Under no circumstances should a fixture be hung on house electrical wires, nor should a swag type fixture be installed on a ceiling, which contains a radiant type heating system. Read instructions carefully. If you are unclear as to how to proceed, consult a qualified electrician. 

NOTE: Proper wiring is essential for the safe operation of this fixture.

	FIXTURE ASSEMBLY


Carefully removed the fixture from the carton and check that all parts are included as shown in figure. Be careful not to misplace any of the screws or parts, which are needed to install this fixture. 
STEP 1: Place the coupling (J) over the nipple (K) and thread the pipe (U) onto the nipple (K).
STEP 2: Secure the part (П) of the arms (G) to the coupling (J) with the screws (I), adjust the coupling (H) (is movable) to a suitable height , then secure the part (І) of the arms (G) to the coupling (H) with the screws (F).
	INSTALLATION


IMPORTANT: Do not attach fixture directly to outlet box.

STEP 1: Thread the mounting screws (A) into the match holes in the mounting bar (B).
STEP 2: Secure mounting bar (B) to the outlet box with outlet box screws (C).
	GROUNDING INSTRUCTIONS


STEP 1: Insert the green grounding screw into the hole with two raised dimples on the mounting bar. Wrap the ground wire from the fixture (if supplied) around the green grounding screw, then connect it to ground wire from the outlet box (if not fixed on the outlet box) using a wire connector (not supplied). If ground wire from the fixture is not supplied, wrap the ground wire (if not fixed on the outlet box) from the outlet box around the green grounding screw and tighten it.

NEVER CONNECT GROUND WIRE TO BLACK OR WHITE POWER SUPPLY WIRES.

STEP 2: Take note of the color of the wire(s) on your fixture. Identify which group your fixture wire(s) falls into and connect the wires according to the directions below:

	GROUP A: Connect to Black House Wire
	GROUP B: Connect to White House Wire

	BLACK
	WHITE

	*PARALLEL WIRE (round & smooth)
	*PARALLEL WIRE (square & ridged)

	WHITE OR GREY WITH TRACER
	WHITE OR GREY WITHOUT TRACER

	BROWN GOLD OR BLACK WITHOUT TRACER
	BROWN, GOLD OR BLACK WITH TRACER


*NOTE: When parallel wire (SPT-I & SPT-2) is used, the tracer wire is square shaped or ridged and the less tracer wire is round in shape or smooth (seen best when viewed from wire end.)

STEP 3: Take your fixture wire(s) from group A and place evenly against the black wire from the outlet box. Do NOT twist wires together before using wire connectors.

STEP 4: Fit a wire connector over the wires and screw the connector clockwise until you feel firmness.

STEP 5: Try gently to pull the connector off the wires. If you can pull the connector off, carefully re-do steps 3 and 4, as above, and check again for a firm connection.
STEP 6: Connect the fixture wire from group B to the white wire from the outlet box in the same manner. Make sure no bare wires can be seen outside wire connectors.
	FINAL ASSEMBLY


STEP 1: After wires are connected, tuck them carefully inside outlet box, Raise the canopy (D) allowing for the mounting screws (A) to protrude through the holes on canopy (D), and secure with the ball nuts (E).
STEP 2: Install lamps. (Please do not exceed the maximum capacity recommended on the socket.)
STEP 3: Thread the nut (N) onto the nipple (O) and thread the nipple (O) into the coupling (M).
STEP 4: Slide the glass (P) and the washer (Q) onto the nipple (O), then secure the glass (P) with the nut (R).

STEP 5: Slide the cap (S) onto the nipple (O) and secure with the finial (T).  
	CLEANING


To clean, wipe fixture with a soft cloth. Clean glass with a mild soap. Do not use abrasive materials such as scouring pads or powders, steel wool or abrasive paper. 
[image: image1.wmf]

ITEM: 60-384
NUVOTM  a Satco Product.






